User manual to program DISORDER

Author: Alexander Borovinskiy 

E-mail: borovin@cmpharm.ucsf.edu

Version of user manual: 1.2

Date: 12/2/2006
Describes program release: 4.0.0

Release date: 12/2/06

31
Introduction


42
Theory


42.1
Simulation of fiber diffraction patterns


62.2
Comparison of simulated and observed diffraction patterns


62.3
Optimization of the model parameters by simulated annealing


72.4
Model positioning


83
Input/Output files


83.1
Input files


83.2
Output files


94
Other programs used by DISORDER


94.1
Fit2D


94.2
MDL Chime plug-in to Internet Explorer


105
Data flow


116
Examples of common use


116.1
Calculate layer lines for a given model


116.2
Simulate oriented diffraction pattern


126.3
Calculate layer-lines for a given model and compare them with experimental layer-lines intensities


126.4
Simulate disoriented diffraction pattern


136.5
Simulate disoriented diffraction pattern and compare it with experimental image


136.6
Position model and simulate diffraction pattern


156.7
Scale the simulated image intensity and compare it with experimental image


166.8
Subtract circularly symmetric or flat background from experimental image


166.9
Optimize solvent and model parameters


196.10
Quantitative comparison of the simulated and experimental images


206.11
Optimize model orientation by grid-search


206.12
Optimize model by simulated annealing


216.13
Fiber diffraction calculations for a small crystallite model


227
List of commands used in DISORDER scripting language


227.1
Fiber diffraction calculation parameters


257.2
Model manipulation


287.3
Output options


317.4
Image manipulation


337.5
Commands for SEARCH_MODEL_SPACE regime


337.6
Commands for BROWSE_UNIT_CELL regime


347.7
Commands used for simulated annealing optimization


358
References


369
Index




1 Introduction

Program DISORDER provides tools for simulation of the diffraction patterns from fibrillar assemblies of biomolecules and optimization of the fibrillar models with respect to experimental diffraction data. A key feature of the program is the ability to simulate diffraction patterns from fibrillar assemblies with orientation disorder.

2 Theory

DISORDER implements the following methods to simulate fiber diffraction pattern from a given model. 

2.1 Simulation of fiber diffraction patterns 

For the asymmetric unit of atoms repeated on a helix given by their coordinates (rj,φj,zj) the cylindrically averaged intensity distribution along layer line l is calculated according to Franklin and Klug1 as


[image: image1.wmf]å

å

-

-

-

=

=

j

i

j

i

j

i

j

n

i

n

n

j

i

z

z

c

l

n

Rr

J

Rr

J

f

f

c

l

Z

R

I

,

)]

(

2

)

(

cos[

)

2

(

)

2

(

)

,

(

p

j

j

p

p

(1), 

where fi  are atomic scattering factors, (R, Z) are the cylindrical coordinates in reciprocal space, and c is the repeat distance of the fiber in the Z direction.

The order n of the Bessel functions contributing to the layer line l is subject to the selection rule  


[image: image2.wmf]c

l

p

m

PN

n

=

+







(2),

where P is the pitch of the helix, p is the axial translation per asymmetric unit, N is the order of rotational symmetry of the fiber, and m is an integer. The spacing between layer lines in reciprocal space is equal to 1/c. The summation of the Bessel functions in equation (1) is performed using the method of Klug et al.2 Solvent-corrected atomic scattering factors fi were used to calculate the diffraction intensities (1)3 


[image: image3.wmf])

(

2

)

(

4

exp

1

vac

i

solv

solv

solv

i

f

D

B

k

f

÷

÷

ø

ö

ç

ç

è

æ

÷

÷

ø

ö

ç

ç

è

æ

-

-

=





(3),

where ksolv  is a scale factor used to adjust average solvent scattering intensity, and Bsolv is a large artificial temperature factor applied to  account for scattering from the disordered solvent.

For a coherently diffracting crystallite of length L, the distribution of intensity across the layer line is well approximated by the Gaussian form


[image: image4.wmf]]

)

(

exp[

)

(

2

2

Z

L

Z

f

D

-

=

D

p





(4),

where ΔZ is the distance from the center of the layer line. The intensity distribution in the diffraction pattern of a single fiber oriented along the z-axis is then given as


[image: image5.wmf])

(

,

,

)

,

(

Z

f

c

l

R

I

Z

c

l

R

I

Z

R

I

D

÷

ø

ö

ç

è

æ

=

÷

ø

ö

ç

è

æ

D

±

=





(5).

The diffracting sample is considered as an assembly of fibrous particles, which are randomly disoriented with respect to the z-axis according to a Gaussian distribution. The probability of finding particles in an element of solid angle dΩ at an angle  to the z axis is N()dΩ/4π, where


[image: image6.wmf]ú

û

ù

ê

ë

é

-

=

2

0

2

2

0

2

exp

2

)

(

a

a

a

a

N





(6)

and 0 is the disorientation parameter. The intensity distribution in the diffraction pattern generated by the assembly of the disoriented fibrous particles is then given by the integral4

[image: image7.wmf]ò

W

W

=

p

a

4

)

(

)

,

(

)

,

(

d

N

Z

R

I

Z

R

I

dis





(7)

Following Holmes and Barrington Leigh4 this integral is calculated in DISORDER as


[image: image8.wmf]ò

ò

ú

ú

û

ù

ê

ê

ë

é

÷

÷

ø

ö

ç

ç

è

æ

+

+

-

+

=

p

p

a

g

g

g

g

j

p

2

0

0

2

0

2

2

2

2

)

/

)

sin

cos

arccos((

2

1

exp

sin

4

)

,

(

)

,

(

Z

R

R

Z

d

d

Z

R

Z

R

I

Z

R

I

dis

(8),

where φ,γ are the angles describing the orientation of the single fibrous particle in the sample.
For the comparison with experimental fiber diffraction data intensities (8) are multiplied by isotropic temperature factor exp[-B(R2+Z2)/2], or anisotropic factor exp[-(BRR2+BZZ2)/2].

2.2 Comparison of simulated and observed diffraction patterns

[image: image19.wmf]The fiber diffraction residual was calculated for every model as a measure of the similarity of the simulated pattern to the observed in the form


[image: image9.wmf](

)

å

å

-

=

Z

R

obs

Z

R

obs

dis

Z

R

I

Z

R

I

Z

R

kI

f

R

,

2

,

2

)

,

(

)

,

(

)

,

(





(9),

where


[image: image10.wmf]î

í

ì

³

<

=

0

0

0

 

if

 

,

 

if

 

,

)

(

x

x

x

x

x

x

x

f





(10).

Here Iobs(x,y) is the observed diffraction intensity at the point of reciprocal space with coordinates (R,Z).  The factor


[image: image11.wmf]å

å

=

Z

R

dis

Z

R

obs

dis

Z

R

I

Z

R

I

Z

R

I

k

,

2

,

)

,

(

)

,

(

)

,

(






(11)

 was applied to bring the calculated diffraction intensities to the same scale as the observed. It should be noted that the residual (9) is not equivalent to the “traditional” fiber diffraction R-factor5, since it is calculated by summation across the whole diffraction pattern and is not limited to the layer lines. 

2.3 Optimization of the model parameters by simulated annealing

To obtain a better fit of the simulated diffraction patterns to the experimental data the bulk solvent parameters ksolv and Bsolv and isotropic model B-factors were optimized for every model by simulated annealing minimization of the whole pattern residuals. The limits of the parameters variation during the minimization are shown in Table 1.

2.4 Model positioning

The fiber axis was aligned with the direction of the z-axis of the model coordinate system. The models of the asymmetric unit were initially placed into the coordinate system so that their centers of masses were located at the origin and the average direction of the H-bonding coincided with the z-axis. The models were positioned by two rotation transformations followed by translation along the x-axis:


[image: image12.wmf]i

i

r

T

T

d

r

j

y

+

=

¢






(12),

where 
[image: image13.wmf]i

r

, 
[image: image14.wmf]i

r

¢

 are the coordinates of the model before and after transformation, 
[image: image15.wmf]j

T

, 
[image: image16.wmf]y

T

are the matrices of rotation about the z- and x-axis, and d=(d,0,0) is a translation vector.

Input/Output files

This section discusses required and optional files used or generated by DISORDER, the file formats understood by the program, tips for preparation of the input files.

2.5 Input files

1. Model coordinates (required)

User must provide the coordinates of a model asymmetric unit in PDB format. Tip: the model can be prepared using programs O, Insight2, MODELLER

2. Processed experimental image (optional)

3. Experimental image mask (optional)

4. Pixel weights files for scaling of the simulated image and for residual calculations (optional)

5. Data files for calculations of disoriented fiber diffraction patterns (optional)

6. Commands script file (required)

2.6 Output files

1. Simulated diffraction pattern in quadrant or full view

2. Compared simulated and experimental diffraction patterns

3. Experimental diffraction pattern in quadrant or full view

4. Compared simulated and experimental equatorial intensity profiles

5. Compared simulated and experimental meridional radial scans

6. Compared simulated and experimental layer-lines intensities

7. Reports in user-defined format

8. Coordinates of the fibrillar assembly model

Other programs used by DISORDER

2.7 Fit2D

2.8 MDL Chime plug-in to Internet Explorer

Data flow

This section discusses use of DISORDER in combination with other programs in a context of modeling against fiber diffraction data.

Examples of common use

This section describes a number of examples of application of DISORDER to the usual tasks in fiber diffraction simulations. Tobacco Mosaic Virus models and fiber diffraction data6 were chosen to illustrate the program capabilities, since these constitute a most well known example of structure determination by fiber diffraction. The experimental diffraction data were kindly provided by Dr. Gerald Stubbs. The models of TMV were downloaded from Protein Data Bank (PDB Ids: 1vtm and 2tmv).

The model of Sup35 heptamer peptide7 GNNQQNY (PDB ID: 1yjp) was used in Example 13 to illustrate the representation of the fibrillar model as a small crystallite.

The commands that are important part for a particular example are highlighted in bold font.

2.9 Calculate layer lines for a given model

The layer lines are calculated using atomic scattering factors in vacuum and stored in a data file.

REGIME DISPLAY 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.001  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 100

READ_MODEL ./PDB/1vtm.pdb 

DMAX 250

REPORT_FILE ./Examples/Output_reports/tmv-u2_lines.log 

WRITE_LAYER_LINES ./Examples/Output_reports/tmv-u2_lines.dat

2.10 Simulate oriented diffraction pattern

The layer-lines are calculated, stored as an image in SMV format and displayed in a program FIT2D.

REGIME DISPLAY 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.001  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 100

READ_MODEL ./PDB/1vtm.pdb 

REPORT_FILE ./Examples/Output_reports/tmv-u2_lines.log 

BACKSTOP 10 

DMAX 250

WRITE_SIMULATED_PATTERN ./Examples/Output_images/tmv-u2_sim.smv

SHOW_COMPARISON ON 

2.11 Calculate layer-lines for a given model and compare them with experimental layer-lines intensities

Experimental layer-lines are read from a data file, the compared simulated and experimental lines are stored in a data file.

REGIME DISPLAY 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.001  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 100

READ_MODEL ./PDB/2tmv.pdb 

READ_LAYER_LINES .\IMAGES\TMV_lines_obs.dat

AUTO_MASK ON

REPORT_FILE ./Examples/Output_reports/tmv.log 

BACKSTOP 5 

DMAX 250

WRITE_COMPARED_SLICES 69.0 ./Examples/Output_reports/tmv-cmprd_lines.dat

2.12 Simulate disoriented diffraction pattern

Orientation disorder applied in calculation of the diffraction pattern. The parameter ALPHA0 specifies the degree of the disorientation in the model.

REGIME DISPLAY 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.001  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 100

READ_MODEL ./PDB/1vtm.pdb 

REPORT_FILE ./Examples/Output_reports/tmv.log 

DISORDER ON 

ALPHA0 2.6 

COHERENCE_LENGTH 250. 

BACKSTOP 30 

DMAX 245

WRITE_SIMULATED_PATTERN ./Examples/Output_images/tmv-u2_sim.smv

SHOW_COMPARISON ON
2.13 Simulate disoriented diffraction pattern and compare it with experimental image

REGIME DISPLAY 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.002  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 100

READ_MODEL ./PDB/1vtm.pdb 

REPORT_FILE ./Examples/Output_reports/tmv.log 

READ_IMAGE .\IMAGES\F03000.206

BSL_FRAME 0

AUTO_MASK ON

DISORDER ON 

ALPHA0 2.6 

COHERENCE_LENGTH 350. 

TEMPERATURE_FACTOR ISOTROPIC 2.0 #B_iso

SOLVENT_CONTRAST 0.99 200.0 #ksol bsol

BACKSTOP 20 

DMAX 185

WRITE_COMPARED_PATTERNS ./Examples/Output_images/tmv_u2_cmprd.smv

SHOW_COMPARISON ON

2.14 Position model and simulate diffraction pattern

The next example requires some introductory notes. The TMV(U2) model stored in the file 1vtm.pdb has a center of mass located at (55.221; 13.932; 34.345). To illustrate application of the commands for model positioning a different model file was prepared (1vtm_cm.pdb). That model was obtained from 1vtm.pdb by rotating it  –14° around Z-axis (so the center of mass (CM) moves to the XZ plane) and translating it, so the CM positioned at the origin of the coordinate system.

The command script listed below reads model 1vtm_cm.pdb and translates it 56.9513 Å along X-axis. Then the diffraction pattern is calculated for the positioned model and compared to the experimental image. Please consult “Model positioning” in “Theory” section to make sure that such transformed 1vtm_cm.pdb model is equivalent to 1vtm.pdb

REGIME DISPLAY 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.002  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 50

READ_MODEL ./PDB/1vtm_cm.pdb 

MOVE_MODEL 56.9513 0.0 0.0 0.0

READ_IMAGE .\IMAGES\F03000.206

BSL_FRAME 0

AUTO_MASK ON

REPORT_FILE ./Examples/Output_reports/tmv.log 

REPORT_COLUMNS ALPHA0 K_SOL B_SOL B_ISO

DISORDER ON 

ALPHA0 2.6 

COHERENCE_LENGTH 350. 

TEMPERATURE_FACTOR ISOTROPIC 2.0 

SOLVENT_CONTRAST 0.99 200.0 

BACKSTOP 20 

DMAX 185

WRITE_COMPARED_PATTERNS ./Examples/Output_images/tmv_u2_cmprd.smv

SHOW_COMPARISON ON
The following script produces the same result:

REGIME BROWSE_MODEL_SPACE 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.002  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 50

READ_MODEL ./PDB/1vtm_cm.pdb 

MOVE_MODEL RADIUS 56.9513 56.9513 0.1 

READ_IMAGE .\IMAGES\F03000.206

BSL_FRAME 0

AUTO_MASK ON

REPORT_FILE ./Examples/Output_reports/tmv.log 

REPORT_COLUMNS ALPHA0 K_SOL B_SOL B_ISO

DISORDER ON 

ALPHA0 2.6 

COHERENCE_LENGTH 350. 

TEMPERATURE_FACTOR ISOTROPIC 2.0 

SOLVENT_CONTRAST 0.99 200.0 

BACKSTOP 20 

DMAX 185

WRITE_COMPARED_PATTERNS ./Examples/Output_images/tmv_u2_cmprd.smv

SHOW_COMPARISON ON
2.15 Scale the simulated image intensity and compare it with experimental image

By default, all the pixels of the diffraction pattern where mask=1 are used to scale the intensities of the simulated diffraction pattern (see equation (11) in “Theory”). It is possible to scale the intensities of the simulated image the level of the experimental one using only a part of the diffraction pattern, that presents the most interest to the user. In this example the simulated image is scaled by a sector of the diffraction pattern that includes pixels, which have resolution in the range between 0.1 Å-1 and 0.25 Å-1. To do that the scaling weights outside this region are set to 0. 

REGIME DISPLAY 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.002  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 50

READ_MODEL ./PDB/1vtm.pdb 

READ_IMAGE .\IMAGES\F03000.206

BSL_FRAME 0

AUTO_MASK ON

SET_SCALE_WEIGHTS SECTOR 5 0 0 50 0.0

SET_SCALE_WEIGHTS SECTOR 125 0 0 185 0.0

REPORT_FILE ./Examples/Output_reports/tmv.log 

DISORDER ON 

ALPHA0 2.6 

COHERENCE_LENGTH 350. 

TEMPERATURE_FACTOR ISOTROPIC 2.0 

SOLVENT_CONTRAST 0.99 200.0 

BACKSTOP 20 

DMAX 185

WRITE_COMPARED_PATTERNS ./Examples/Output_images/tmv_u2_cmprd.smv

SHOW_COMPARISON ON

2.16 Subtract circularly symmetric or flat background from experimental image

Example will be described in future versions. Please, refer to CIRC_BACKGROUND command description.

2.17 Optimize solvent and model parameters

As a general rule, simulation of a diffraction pattern with vacuum atomic scattering factors produces poor fit to the experimental data, since the intensities in the center of the simulated image overestimated. Usually, atomic scattering factors are corrected to account for the diffraction of bulk solvent. Several methods implemented in DISORDER to improve the fit of the simulated diffraction patterns by optimization of the solvent contrast parameters and uniform model B-factors.

It was demonstrated in examples 5-7 how to set up model isotropic B-factor and solvent parameters manually. 

The solvent parameters and the uniform model isotropic B-factor can be optimized using simulated annealing method:

REGIME DISPLAY 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.002  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 50

READ_MODEL ./PDB/1vtm.pdb 

READ_IMAGE .\IMAGES\R03000.208

BSL_FRAME 0

AUTO_MASK ON

SET_SCALE_WEIGHTS SECTOR 5 0 0 50 0.0

SET_SCALE_WEIGHTS SECTOR 125 0 0 185 0.0

REPORT_FILE ./Examples/Output_reports/tmv.log 

REPORT_COLUMNS ALPHA0 K_SOL B_SOL B_ISO

DISORDER ON 

ALPHA0 2.6 

COHERENCE_LENGTH 350. 

NUM_ITERATIONS 3000 

ANNEALING_TEMPERATURE 0.5

RANDOM_START ON 

SEARCH_B_FACTORS_ISO 0.8 0.999 0.01 400 1500 50 2 100 2 

BACKSTOP 50 

DMAX 172

WRITE_COMPARED_PATTERNS ./Examples/Output_images/tmv_u2_cmprd.smv

SHOW_COMPARISON ON 

Alternatively, these parameters can be optimized using a grid-search procedure:

REGIME DISPLAY 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.002  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 50

READ_MODEL ./PDB/1vtm.pdb 

READ_IMAGE .\IMAGES\R03000.208

BSL_FRAME 0

AUTO_MASK ON

SET_SCALE_WEIGHTS SECTOR 5 0  0 50 0.0

SET_SCALE_WEIGHTS SECTOR 125 0  0 185 0.0

REPORT_FILE ./Examples/Output_reports/tmv.log 

REPORT_COLUMNS ALPHA0 K_SOL B_SOL B_ISO

DISORDER ON 

ALPHA0 2.6 

COHERENCE_LENGTH 350. 

BROWSE_B_FACTORS_ISO 0.96 0.99 0.01 200 500 50 2 20 1 

BACKSTOP 50 

DMAX 172

WRITE_COMPARED_PATTERNS ./Examples/Output_images/tmv_u2_cmprd.smv

SHOW_COMPARISON ON

Sometimes, a better fit of the simulated diffraction pattern to the experimental data can be obtained, if anisotropic uniform model B-factors are used (in R and Z directions in reciprocal space). However, the execution of this command is time consuming, so try to avoid large searches. Here is an example of a grid-search optimization with anisotropic model B-factors:

REGIME DISPLAY 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.002  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 50

READ_MODEL ./PDB/1vtm.pdb 

READ_IMAGE .\IMAGES\R03000.208

BSL_FRAME 0

AUTO_MASK ON

SET_SCALE_WEIGHTS SECTOR 5 0  0 50 0.0

SET_SCALE_WEIGHTS SECTOR 125 0  0 185 0.0

REPORT_FILE ./Examples/Output_reports/tmv.log 

REPORT_COLUMNS ALPHA0 K_SOL B_SOL B_ISO RESIDUAL

DISORDER ON 

ALPHA0 2.6 

COHERENCE_LENGTH 350. 

BROWSE_B_FACTORS_ANISO 0.96 0.99 0.01 200 500 50 2 20 1 2 20 1

BACKSTOP 50 

DMAX 172

WRITE_COMPARED_PATTERNS ./Examples/Output_images/tmv_u2_cmprd.smv

SHOW_COMPARISON ON

2.18 Quantitative comparison of the simulated and experimental images

The least-squares residuals for the whole diffraction pattern and user-defined regions can be calculated and stored into the report file. In this example the command IO_THRESHOLD is used to exclude the pixels of low intensities from the calculation of the residuals. That helps to improve the sensitivity of the residual as a measure of the simulated patterns fit. The whole pattern residual and region residual for a rectangular area corresponding to layer-line 6 are calculated in this example:

REGIME DISPLAY 

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.002  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 50

READ_MODEL ./PDB/1vtm.pdb 

READ_IMAGE .\IMAGES\R03000.208

BSL_FRAME 0

AUTO_MASK ON

SET_SCALE_WEIGHTS SECTOR 5 0  0 50 0.0

SET_SCALE_WEIGHTS SECTOR 125 0  0 185 0.0

REPORT_FILE ./Examples/Output_reports/tmv.log 

REPORT_COLUMNS ALPHA0 K_SOL B_SOL R_REGIONS RESIDUAL

DISORDER ON 

ALPHA0 2.6 

COHERENCE_LENGTH 350. 

TEMPERATURE_FACTOR ISOTROPIC 2.0 

SOLVENT_CONTRAST 0.97 200.0 

BACKSTOP 50 

DMAX 172

CALCULATE_R WHOLE_PATTERN 

CALCULATE_R REGION RECTANGLE 22 41 170 49

IO_THRESHOLD 50 

WRITE_COMPARED_PATTERNS ./Examples/Output_images/tmv_u2_cmprd.smv

SHOW_COMPARISON ON 

2.19 Optimize model orientation by grid-search

REGIME BROWSE_MODEL_SPACE

RSIZE 250

ZSIZE 250

PIXEL_RESOLUTION 0.002  

ROTATIONAL_SYMMETRY 1 

UNITS 49 

TURNS_X_PROTOFILAMENTS 3 

AXIAL_TRANSLATION 1.40816 

MAX_NUM_LINES 24

MAX_BESSEL_ORDER 100

READ_MODEL ./PDB/1vtm_cm.pdb 

MOVE_MODEL RADIUS 50.0 60. 0.5

MOVE_MODEL ALPHA 0 355 5

CHECK_MODEL ON

CLASH_DISTANCE 3.5# dist. of close contact between backbone atoms

CONTACT_CHAINS –17 -16 -15 -1 1 15 16 17# for CHECK_MODEL

READ_IMAGE .\IMAGES\R03000.208

BSL_FRAME 0

AUTO_MASK ON

SET_SCALE_WEIGHTS SECTOR 5 0  0 50 0.0

SET_SCALE_WEIGHTS SECTOR 125 0  0 185 0.0

REPORT_FILE ./Examples/Output_reports/tmv_orientation.log 

REPORT_COLUMNS ALPHA0 K_SOL B_SOL R_REGIONS RESIDUAL
DISORDER ON 

ALPHA0 2.6 

COHERENCE_LENGTH 350. 

TEMPERATURE_FACTOR ISOTROPIC 2.0 

SOLVENT_CONTRAST 0.97 200.0 

BACKSTOP 50 

DMAX 172

CALCULATE_R WHOLE_PATTERN 

CALCULATE_R REGION RECTANGLE 22 41 170 49

IO_THRESHOLD 50 

2.20 Optimize model by simulated annealing

This example will be included in a future version.

2.21 Fiber diffraction calculations for a small crystallite model

#GNNQQNY

REGIME DISPLAY 

RSIZE 250 

ZSIZE 250

PIXEL_RESOLUTION 0.001  # Angstrom^-1

#parameters of the model used in selection rule:

#l=k*(c*N/P)+m*(c/p) <=> l=k*TURNS_X_PROTOFILAMENTS + m*UNITS

#Bessel functions of orders J_(k*N) are used in calculation of #intensities 

ROTATIONAL_SYMMETRY 1 #number of protofilaments N

UNITS 168 #u=c/p, units in period

TURNS_X_PROTOFILAMENTS 167 #t=c*N/P, P is the pitch of the helix

AXIAL_TRANSLATION 4.8 #p

MAX_NUM_LINES 250

MAX_BESSEL_ORDER 50

#parameters for reading input PDB file

NO_H_NO_HOH ON

READ_MODEL ./PDB/GNNQQNY_ab.pdb # 7mer chains A&B

#description of the lattice in terms of Eisenberg's model unit cell

BUILD_CRYSTALITE 22. 23.5  4.87 90 90 72.92 4 3 1 #21.94 23.48 # P111 

REPORT_FILE ./Examples/Output_reports/7mer.log # log file

REPORT_COLUMNS ALPHA0 K_SOL B_SOL B_ISO# R_REGIONS RESIDUAL #

#parameters for simulation of fiber diffraction pattern

DISORDER ON #OFF # 

ALPHA0 8.5 #degree of disorientation, deg

#parameters for diffraction calculation:

COHERENCE_LENGTH 500. # Angstroms

#parameters used in solvent contrast method

TEMPERATURE_FACTOR ISOTROPIC 2.0 #B_iso

SOLVENT_CONTRAST 0.97 200.0 #ksol bsol

BACKSTOP 10

DMAX 250

WRITE_SIMULATED_PATTERN ./Examples/Output_images/7mer_sim.smv

SHOW_COMPARISON ON

3 List of commands used in DISORDER scripting language

Symbol ‘# XE "#" ’ is used to comment part of the line that follows it in a script file.

3.1 Fiber diffraction calculation parameters

REGIME XE "REGIME"  <regime keyword>
selects the regime for the current program run. Must be the first command in the script file.

Several keywords are accepted:

DISPLAY
allows user to simulate the diffraction pattern for a single orientation of a model provided by user and display the pattern with a program ‘fit2d’

BROWSE_MODEL_SPACE
allows user to simulate diffraction patterns for a range orientations of a model defined by a command MOVE_MODEL and compare them to the experimental diffraction pattern by means of calculation of a least squares residuals;

SEARCH_MODEL_SPACE
allows user to search for optimal values of helical symmetry, orientation of a model by simulated annealing algorithm.  (The code that implements this regime is under construction.);

BROWSE_UNIT_CELL
in this regime an asymmetric unit of a model is constructed as a small crystallite. This regime allows user to calculate diffraction patterns for a range of unit cell parameters of the crystallite and compare them to the experimental diffraction pattern by means of calculation of a least squares residuals. See commands CELL_* for more details;

The following commands define the helical symmetry of the model:

ROTATIONAL_SYMMETRY XE "ROTATIONAL_SYMMETRY"  <int>
defines rotational symmetry of the model fibril.

UNITS XE "UNITS"  <int>
the command defines number of asymmetric units in one period of the model fibril.

TURNS_X_PROTOFILAMENTS XE "TURNS_X_PROTOFILAMENTS"  <int>
if ROTATIONAL_SYMMETRY=1, the parameter defines the number of helix turns in one period of the fiber. If ROTATIONAL_SYMMETRY>1, the parameter defines a number of helix turns in the segment of the fibril that has length  (c*N), where c is a period of the fibril and N is the order of its rotational symmetry.  In other words, the selection rule:

l=k*(c*N/P)+m*(c/p) is equivalent to l=k*TURNS_X_PROTOFILAMENTS + m*UNITS. Bessel functions of orders Jk*N are used in calculation of intensities.

AXIAL_TRANSLATION XE "AXIAL_TRANSLATION"  <float>

defines the axial translation of symmetrically related units on the helix in (Å).

MAX_BESSEL_ORDER XE "MAX_BESSEL_ORDER"  <int>
defines maximal order of Bessel functions used in calculation of the Furier transforms.

MAX_NUM_LINES XE "MAX_NUM_LINES"  <int>

allows user to limit the number of calculated layer lines. If this parameter is set to high values, only the lines visible at the current values of DMAX and PIXEL_RESOLUTION are calculated.

RSIZE XE "RSIZE"  <101/250>

ZSIZE XE "ZSIZE"  <101/250>

These parameters define the size of the calculated diffraction patterns in pixels. Currently the disordered diffraction patterns can be calculated only for two sizes of the image either 101x101, or 250x250. Use smaller image size for time consuming calculations, and larger image size, if the resolution of fine details of the diffraction pattern is desired. It is possible to use different image sizes, if necessary, without modification of the program code. However, the disorientation integrals must be recalculated for the new image size and this task may take several days. 


The strange image size 101x101 is inherited from the program Cerius2. The output from Cerius2 was originally used to test the developed code.

PIXEL_RESOLUTION XE "PIXEL_RESOLUTION"  <float>
pixel resolution, Å-1

BACKSTOP XE "BACKSTOP"  <int>

defines the radius of the beamstop in pixels.

DMAX XE "DMAX"  <int>
defines the maximum resolution of the image in pixels.

DISORDER XE "DISORDER"  <ON/OFF>
The command defines whether to calculate oriented (OFF), or disoriented (ON) diffraction pattern. If set ON, define the disorientation parameter ALPHA0.

ALPHA0 XE "ALPHA0" 
The command defines disorientation parameter. Several variants of syntax are accepted:

ALPHA0 <alpha0, (deg), float>
The disorientation parameter is fixed to alpha0 degrees. This syntax is accepted in the regime DISPLAY.

ALPHA0 <alpha0_min, (deg), float> <alpha0_max, (deg), float> <step, (deg), float>


The disorientation parameter is varied in the range between alpha0_min and alpha0_max degrees with increment step. If the user sets alpha0 to the values for which the disorientation integrals were not precalculated, the program displays warning message. This syntax is accepted in the regime BROWSE_MODEL_SPACE.

COHERENCE_LENGTH XE "COHERENCE_LENGTH"  

The command defines the coherence length of a model. The layer lines are assumed to have Gaussian cross-shape, and the parameter length defines the width of the corresponding Gaussian distribution.

COHERENCE_LENGTH <length, (Å), float>



The coherence length is fixed to length Å. This syntax is accepted in the regime DISPLAY.

COHERENCE_LENGTH <length_min, (Å), float> <length_max, (Å), float> <step, (Å), float>


This syntax is accepted in the regime BROWSE_MODEL_SPACE.

FIBERS_PACKING XE "FIBERS_PACKING"  <number of fibers, int> <period, (Å), float>


This command applies the correction to the equatorial layer line for the hexagonal packing of the fibrils. The first parameter defines the number of the fibrils in a bundle and the second is the period of the hexagonal lattice.

TEMPERATURE_FACTOR XE "TEMPERATURE_FACTOR" 
The command defines the uniform B-factors applied to all the atoms of the model. There are two variants of the command syntax accepted:

TEMPERATURE_FACTOR ISOTROPIC <Biso, (Å2), float>


Uniform isotropic B-factor Biso is applied in diffraction calculations.

TEMPERATURE_FACTOR ANISOTROPIC <BR, (Å2), float> <BZ, (Å2), float>


Anisotropic B-factors BR, BZ are applied in radial and meridional directions in diffraction calculations.

The following commands define the regime of calculation of atomic scattering factors:

VACUUM XE "VACUUM" 
The atomic scattering factors in vacuum are applied in calculation of the diffraction patterns.

SOLVENT_CONTRAST XE "SOLVENT_CONTRAST"  <ksol, float> <Bsol, float>

Solvent-corrected atomic scattering factors are used to calculate the diffraction intensities: 


[image: image17.wmf])

(

4

exp

1

)

(

)

(

2

)

(

D

f

D

B

k

D

f

vac

i

solv

solv

solv

i

÷

÷

ø

ö

ç

ç

è

æ

÷

÷

ø

ö

ç

ç

è

æ

-

-

=





BROWSE_B_FACTORS_ISO XE "BROWSE_B_FACTORS_ISO"  <ksol_min, float>  <ksol_max, float>  <ksol_step, float> <Bsol_min, float>  <Bsol_max, float>  <Bsol_step, float> <Biso_min, float>  <Biso_max, float>  <Biso_step, float>

The parameters ksol, Bsol and Biso are optimized to obtain lower whole pattern least squares residuals for every model considered. This command currently works in the regimes DISPLAY and BROWSE_MODEL_SPACE.

BROWSE_B_FACTORS_ANISO XE "BROWSE_B_FACTORS_ANISO"  <ksol_min, float>  <ksol_max, float>  <ksol_step, float> <Bsol_min, float>  <Bsol_max, float>  <Bsol_step, float> <BR_min, float>  <BR_max, float>  <BR_step, float> <BZ_min, float>  <BZ_max, float>  <BZ_step, float>

The parameters ksol, Bsol BR and BZ are optimized to obtain lower whole pattern least squares residuals for every model considered. This command currently works in the regimes DISPLAY and BROWSE_MODEL_SPACE.

SEARCH_B_FACTORS_ISO XE "SEARCH_B_FACTORS_ISO" 
The parameters ksol, Bsol and Biso are optimized by simulated annealing (SA) to obtain lower whole pattern least squares residuals for every model considered. This command currently works in the regimes DISPLAY and BROWSE_MODEL_SPACE. There are two variants of the command syntax, which depend on whether the (SA) optimization is started from a random values of the parameters ksol, Bsol and Biso, or from the fixed initial set of values:

SEARCH_B_FACTORS_ISO <ksol_min, float>  <ksol_max, float>  <ksol_step, float> <Bsol_min, float>  <Bsol_max, float>  <Bsol_step, float> <Biso_min, float>  <Biso_max, float>  <Biso_step, float> 


This syntax is applied when the command RANDOM_START is ON. For each parameter, the initial parameter value is chosen randomly between _min and _max values. The initial step of optimization is set to _step value. During the optimization, the parameters are allowed to vary between the defined  _min and _max values.

SEARCH_B_FACTORS_ISO <ksol_min, float>  <ksol_max, float>  <ksol_step, float> <ksol_init, float>  <Bsol_min, float>  <Bsol_max, float>  <Bsol_step, float> <Bsol_init, float>  <Biso_min, float>  <Biso_max, float>  <Biso_step, float> <Biso_init, float>  


This syntax is applied when the command RANDOM_START is OFF. For each parameter, the initial parameter value is set to _init value, which must be chosen between _min and _max values. The initial step of optimization is set to _step value. During the optimization, the parameters are allowed to vary between the defined  _min and _max values.

3.2 Model manipulation

READ_MODEL XE "READ_MODEL"  <filename, string>
read model in PDB format.

READ_ADDITIONAL_MODEL XE "READ_ADDITIONAL_MODEL"  <filename, string >

read additional model from PDB file and place to the end of initial model. The command used for building random prion fiber model.

BUILD_RANDOM_FIBER XE "BUILD_RANDOM_FIBER" 
The command used for building random prion fiber model. Internal use only.

READ_CHAIN_ID XE "READ_CHAIN_ID"  <ON/OFF>

this command defines whether to read chain ID, when the program reads in a PDB file with a model. The command is deprecated. Reading of chain ID from pdb file is performed automatically.

WRITE_CHAIN_ID XE "WRITE_CHAIN_ID"  <ON/OFF>

this command defines whether to write chain ID, when the program writes a PDB file with a model.

The following commands determine which atoms should be read in from a PDB file:

IGNORE_HYDROGENS XE "IGNORE_HYDROGENS"  ON

hydrogen atoms are not read in.

NO_H_NO_HOH XE "NO_H_NO_HOH"  ON


hydrogen atoms and water are not read in.

READ_BACKBONE_ONLY XE "READ_BACKBONE_ONLY"  ON

only backbone atoms, Cand atoms of proline sidechains are read. 

READ_CA_ONLY XE "READ_CA_ONLY"  ON


only Catoms are read in.

READ_HETATM XE "READ_HETATM"  ON


read in heteroatoms.

READ_ALL XE "READ_ALL"  ON

read all atoms. By default, if no directives are given in the script file, all atoms are read in from PDB file.

USE_B_FACTORS XE "USE_B_FACTORS"  <ON/OFF>

the command defines whether the individual B-factors should be read in from PDB file and used in calculations. The use of this command discontinued.

CHECK_MODEL XE "CHECK_MODEL"  <ON/OFF>
check close contacts between backbone atoms of the adjacent asymmetric units

CLASH_DISTANCE XE "CLASH_DISTANCE"  <float>

The command defines the distance of close contact, (Å).

CONTACT_CHAINS XE "CONTACT_CHAINS"  <index1> [<index2>] [<index3>]…



The command defines which symmetrically related units should be checked for close contacts with the original unit under current helical parameters. The command parameters include the indexes of the particular symmetrically related units on the helix, which should be checked.



Example: in case of TMV, the neighboring units that might have close contacts with the original unit are –17, -16, -15, -1, 1, 15, 16, 17. The command syntax in this case is

CONTACT_CHAINS  –17 -16 -15 -1 1 15 16 17

MAX_NUM_CLASHES XE "MAX_NUM_CLASHES"  <int>

Maximal number of close contacts allowed.

PRINT_CLASHES XE "PRINT_CLASHES"  <ON/OFF>

The command prints on screen atoms of the adjacent units that are too close.
CHECK_SEGMENTS XE "CHECK_SEGMENTS" 
currently not used.

There are to structures that are used in DISORDER to store the model. They are referenced as initial model (_INIT_MODEL XE "INIT_MODEL"  in the command names) and current model (_CUR_MODEL XE "CUR_MODEL" ). When the program reads in a model from a PDB file, it is stored in the initial model.  It is recommended to design user scripts in such a way that after coordinates transformations the model is placed into current model, since the current model is used in fiber diffraction calculations. Many commands are design to behave in such a manner (MOVE_MODEL, for example). It is possible, however, to do coordinates transformations on initial/current model and store result back into it, as well as to copy protein structures between these to models to provide user some flexibility. The following commands describe the coordinates transformations applied to the initial and current models.

ORIENT_INIT_MODEL


These commands orient the chosen model by positioning 3 atoms. 

ORIENT_CUR_MODEL

The first atom placed into the origin of the coordinate system, the second atom is placed onto x axis, and the third atom is placed into the xz plane. The command syntax has two variants. If the parameter READ_CHAIN_ID is ON, then the syntax is

ORIENT_###_MODEL XE "ORIENT_###_MODEL"  <chain ID1, char> <residue number1, int> <atom name1, string> <chain ID2, char> <residue number2, int> <atom name2, string> <chain ID3, char> <residue number3, int> <atom name3, string>

If the parameter READ_CHAIN_ID is OFF, then the syntax is

ORIENT_###_MODEL <residue number1, int> <atom name1, string> <residue number2, int> <atom name2, string> <residue number3, int> <atom name3, string>

CM_INIT_TO_ORIGIN XE "CM_INIT_TO_ORIGIN" 
CM_CUR_TO_ORIGIN XE "CM_CUR_TO_ORIGIN" 

The commands translate the center of mass of the chosen model into the origin of the coordinate system.

COPY_INIT_TO_CUR XE "COPY_INIT_TO_CUR" 


Copy initial model to current model.


COPY_CUR_TO_INIT XE "COPY_CUR_TO_INIT" 

Copy current model to initial model. The original model read from the PDB file is deleted in this operation.

ADD_TRANSLATED XE "ADD_TRANSLATED"  <to_x, (Å), float> <to_y, (Å), float> <to_z, (Å), float>



The command adds initial model translated by vector {to_x, to_y, to_z} to the end of the current model.

ROTATE_X_INIT XE "ROTATE_X_INIT"  <angle, (deg), float>
ROTATE_X_CUR XE "ROTATE_X_CUR"  <angle, (deg), float>
ROTATE_Y_INIT XE "ROTATE_Y_INIT"  <angle, (deg), float>

ROTATE_Y_CUR XE "ROTATE_Y_CUR"  <angle, (deg), float>
ROTATE_Z_INIT XE "ROTATE_Z_INIT"  <angle, (deg), float>
ROTATE_Z_CUR XE "ROTATE_Z_CUR"  <angle, (deg), float>
These commands rotate the chosen model around the chosen axis by an angle.

ADD_ROT_X180_TRANSLATED XE "ADD_ROT_X180_TRANSLATED"  <to_x, (Å), float> <to_y, (Å), float> <to_z, (Å), float>

ADD_ROT_Y180_TRANSLATED XE "ADD_ROT_Y180_TRANSLATED"  <to_x, (Å), float> <to_y, (Å), float> <to_z, (Å), float>

ADD_ROT_Z180_TRANSLATED XE "ADD_ROT_Z180_TRANSLATED"  <to_x, (Å), float> <to_y, (Å), float> <to_z, (Å), float>

These commands add initial model rotated by 180˚ around the chosen axis and translated by a vector {to_x, to_y, to_z} to the end of the current model.

TRANSLATE_INIT_MODEL XE "TRANSLATE_INIT_MODEL"  <to_x, (Å), float> <to_y, (Å), float> <to_z, (Å), float>

TRANSLATE_CUR_MODEL XE "TRANSLATE_CUR_MODEL"  <to_x, (Å), float> <to_y, (Å), float> <to_z, (Å), float>
These commands translate the chosen model by a vector {to_x, to_y, to_z}. The result is stored in the same model.

RANDOM_MODEL XE "RANDOM_MODEL"  <ON/OFF>
if ON, the atoms of a model provided by user are randomly distributed in the cylindrical sector, corresponding to a volume occupied by an asymmetric unit under the current helical parameters. The command is used to test the sensitivity of the least squares residuals.

RANDOMIZE_MODEL XE "RANDOMIZE_MODEL"  <x0, float> <y0, float> <z0, float>


the atomic coordinates of the model are disturbed by adding Gaussian distributed random numbers with σx, σy, σz determined by x0, y0, z0. The command is used to test the sensitivity of the least squares residuals.

MAX_FIBER_RADIUS XE "MAX_FIBER_RADIUS"  <float>

maximal radius, (Å), of the model fibril allowed, when the model orientation parameters are varied.

MOVE_MODEL XE "MOVE_MODEL" 
this command is used for the positioning of the asymmetric unit relative to the fibrillar axis. Recommended use: first, the center of mass of the model is placed into the origin of the coordinate system; then MOVE_MODEL used to orient the model using rotation by Eiler angles and to displace it in radial direction. Several variants of the command syntax are acceptable:

MOVE_MODEL OFF


the coordinates of the asymmetric unit are not modified.

MOVE_MODEL <radius, (Å), float> <alpha, (deg), float> <beta, (deg), float> <gamma, (deg), float>

This syntax is accepted in the regime DISPLAY. The model is rotated by angle alpha around z axis, then by angle beta around x axis, then by angle gamma around z axis again (Eiler rotation angles). Then model is translated along x axis, in positive direction, by radius. 

MOVE_MODEL <keyword> <value_min, float> <value_max, float> <increment, float> 

This syntax is accepted in the regimes BROWSE_MODEL_SPACE and BROWSE_UNIT_CELL. The keywords accepted are RADIUS, ALPHA, BETA and GAMMA. 

The parameter of the model orientation is varied in the range between value_min and value_max with a step increment. The diffraction patterns for these orientations will be calculated.

BUILD_CRYSTALITE XE "BUILD_CRYSTALITE"  <A, (Å), float> <B, (Å), float> <C, (Å), float> <alpha, (deg), float> <beta, (deg), float> <gamma, (deg), float> <number of cells A, int> <number of cells B, int> <number of cells C, int>

This command builds a small crystallite from a unit cell model stored in the initial model. The command parameters include dimensions and angles of the crystal lattice and the numbers of unit cells that should be built in three lattice directions. The center mass of the crystallite model built is placed into the origin of the coordinates system.

3.3 Output options

PRINT_SELECTION_RULE XE "PRINT_SELECTION_RULE" <ON/OFF> the command prints to the screen the results of the application of the selection rule, i.e. which Bessel orders appear on which layer lines. 

PRINT_INPUT_MODEL XE "PRINT_INPUT_MODEL"  <ON/OFF>
the command prints to the screen the coordinates of a model read from PDB file. It is used to control the correctness of the program input.

WRITE_RADIAL_SCAN XE "WRITE_RADIAL_SCAN"  <R1, (pix), int> <Z1, (pix), int> <R2, (pix), int> <Z2, (pix), int> <filename, string>

The use of this command is discontinued. Use WRITE_COMPARED_SCANS instead.

WRITE_COMPARED_SCANS XE "WRITE_COMPARED_SCANS"  <R1, (pix), int> <Z1, (pix), int> <R2, (pix), int> <Z2, (pix), int> <filename, string>

The command writes into a file the compared intensity profiles of the simulated and observed diffraction patterns averaged across the sector defined by its diagonal corners {R1, Z1} and {R2, Z2}.

WRITE_ASSEMBLY_MODEL XE "WRITE_ASSEMBLY_MODEL"  <filename, string> <number of units, int>

Write the fibril model that corresponds to the chosen helical symmetry and orientation parameters into a PDB file. The segment of the fibril that contains number of units asymmetric units in it is written.

WRITE_CURRENT_MODEL XE "WRITE_CURRENT_MODEL"  <filename, string>

Writes the current model into a PDB file. The command is commonly used to control the results of the coordinates transformations applied to the model.

WRITE_CRYSTAL_MODEL XE "WRITE_CRYSTAL_MODEL"  <filename, string>

Writes the model of the small crystallite into a PDB file. The command is commonly used to control the results of crystallite building.

WRITE_SEQUENCE XE "WRITE_SEQUENCE"  <filename, string>
Writes sequence of the model into a filein a one-letter code format.


SHOW_MODEL XE "SHOW_MODEL"  <full path to the model>
Displays the current model in the Internet Explorer window. The command requires installation of Chime plug-in for viewing molecular structures.

SHOW_ASSEMBLY_MODEL XE "SHOW_ASSEMBLY_MODEL"  <full path to the model>


Displays the model fibril in the Internet Explorer window. The command requires installation of Chime plug-in for viewing molecular structures.

REPORT_FILE XE "REPORT_FILE"  <filename, string>

the command writes the log of the program run into a text file.

WRITE_SIMULATED_PATTERN XE "WRITE_SIMULATED_PATTERN"  <filename, string>



This command writes the simulated diffraction pattern in 4 quadrants view into a file in .spr format

WRITE_EXP_DATA XE "WRITE_EXP_DATA"  <filename, string>
This command writes the observed diffraction pattern in 4 quadrants view into a file in .spr format.  

WRITE_COMPARED_PATTERNS XE "WRITE_COMPARED_PATTERNS"  <filename, string>

This command writes the compared observed and simulated diffraction patterns into a file in .spr format.  The observed pattern appears in upper right and lower left quadrants of the image, the simulated pattern appears in the upper left and lower right quadrants.

WRITE_COMPARED_ICALC_IDIS XE "WRITE_COMPARED_ICALC_IDIS"  <filename, string>


This command writes the compared observed, oriented and disoriented diffraction patterns into a file in .spr format.  The observed pattern appears in upper right and lower left quadrants of the image, the simulated patterns appear in the upper left and lower right quadrants.

WRITE_I_OBSERVED XE "WRITE_I_OBSERVED"  <filename, string>

This command writes the observed diffraction pattern into a file in .spr format.  

WRITE_I_CALCULATED XE "WRITE_I_CALCULATED"  <filename, string>

This command writes the oriented diffraction pattern into a file in .spr format.  

WRITE_I_DISORDERED XE "WRITE_I_DISORDERED"  <filename, string>

This command writes the disoriented diffraction pattern into a file in .spr format.  

WRITE_COMPARED_EQUATORS XE "WRITE_COMPARED_EQUATORS"  <filename, string> 

This command writes the equatorial intensity profiles of the observed and simulated diffraction patterns into a file in ASCII format. 

WRITE_COMPARED_STRIPES XE "WRITE_COMPARED_STRIPES"  <R1, (pix), int> <Z1, (pix), int> <R2, (pix), int> <Z2, (pix), int> <filename, string>

This command writes into a file the compared simulated and observed intensity profiles averaged across the stripe, defined by its diagonal corners 

WRITE_COMPARED_SLICES XE "WRITE_COMPARED_SLICES"  <period, (Å), float> <filename, string>


This command writes into a file compared intensity profiles of the slices made across the observed and simulated diffraction patterns at Z=l/period, where l=0,1,2… 

SHOW_COMPARISON XE "SHOW_COMPARISON"  <ON/OFF>
show the simulated and observed diffraction patterns in fit2d.

3.4 Image manipulation

READ_IMAGE XE "READ_IMAGE"  <filename, string>

The command reads the experimental image from file. Currently, only the images in .spr format generated by program fit2d are accepted. The size of the image in pixels must by RSIZE by ZSIZE. 

The mask defines which pixels to ignore and which to include in calculation of the diffraction pattern. If the pixel has mask value 1, it will be included in calculations, if 0, it will be ignored and the intensity of this pixel in the calculated diffraction pattern will be set to 0. It will be also ignored when scaling the simulated pattern and calculating least squares residuals. Typically, the regions of the diffraction pattern which are masked out include beamstop, shadowed region near the meridian and the pixels that have D>=RSIZE, where D2=R2+Z2. The user may also decide to mask out other pixels. The following commands are used to determine the mask:

READ_MASK XE "READ_MASK"  <filename, string>
The command reads the mask from file. Currently, only the masks in .spr format generated by program fit2d are accepted. The size of the mask in pixels must be RSIZE by ZSIZE. 

DEFAULT_MASK XE "DEFAULT_MASK"  ON
The command defines the mask that has pixels on the beamstop of radius 5 pix and pixels with R=0 masked out.

AUTO_MASK XE "AUTO_MASK"  ON
The command defines the mask from a user provided experimental image file. If the intensity of a pixel is less, or equal to 0 in the experimental pattern, the pixel is masked out. The use of this command is recommended, if user cannot provide the mask. 

READ_SCALE_WEIGHTS XE "READ_SCALE_WEIGHTS"  <filename, string>



The command reads the weights for scaling the simulated diffraction pattern from file. Currently, only the files in .spr format generated by program fit2d are accepted. The size of the weights matrix must be RSIZE by ZSIZE. 

READ_R_WEIGHTS XE "READ_R_WEIGHTS"  <filename, string>


The command reads the weights for the calculation of the whole pattern least squares residuals from file. Currently, only the files in .spr format generated by program fit2d are accepted. The size of the weights matrix must be RSIZE by ZSIZE.

FLAT_BACKGROUND XE "FLAT_BACKGROUND"  <intensity, float>
subtract the intensity of the flat background from the experimental image.

CIRC_BACKGROUND XE "CIRC_BACKGROUND"  <radius1, int> <intensity1, float> <radius2, int> <intensity2, float> [<radius3, int> <intensity3, float>] …

The command defines the intensity profile of the circularly symmetric background subtracted from the experimental image. The profile is defined by values of intensities at certain radii (pix)

PEAK_PENALTY_R XE "PEAK_PENALTY_R"  <ON/OFF>

PEAK_PENALTY_S XE "PEAK_PENALTY_S"  <ON/OFF>

INTENSITY_WEIGHTS XE "INTENSITY_WEIGHTS"  <ON/OFF>
The command defines weights for the calculation of the least squares residuals from the experimental image intensity statistics. The pixels that have high intensity are assigned lower weights.

SET_SCALE_WEIGHTS XE "SET_SCALE_WEIGHTS"  <RECTANGLE/SECTOR> <R1, (pix), int> <Z1, (pix), int> <R2, (pix), int> <Z2, (pix), int> <weight, float>

This command allows user to modify the pixels weights used for scaling of the calculated diffraction pattern in a certain region of the diffraction pattern. The region may have a shape of RECTANGLE or SECTOR and is defined by the pixel coordinates of its diagonal corners {R1, Z1} and {R2, Z2}. By default, all the weights are equal to 1.0. If the weights are set to zero, the region is ignored during scaling.

SET_R_WEIGHTS XE "SET_R_WEIGHTS"  <RECTANGLE/SECTOR> <R1, (pix), int> <Z1, (pix), int> <R2, (pix), int> <Z2, (pix), int> <weight, float>

This command allows user to modify the pixels weights used for the calculation of the whole pattern least squares residual in a certain region of the diffraction pattern. The region may have a shape of RECTANGLE or SECTOR and is defined by the pixel coordinates of its diagonal corners {R1, Z1} and {R2, Z2}. By default, all the weights are equal to 1.0. If the weights are set to zero, the region is ignored during the residual calculation.

CALCULATE_R XE "CALCULATE_R" 

The command allows the user to define the parts of the diffraction pattern for which the least squares residuals should be calculated. The lower values of the residuals indicate the better fit of the simulated diffraction pattern. Several variants of the command syntax are accepted:

CALCULATE_R WHOLE_PATTERN
all the pixels of the simulated diffraction pattern, except those masked out are used in calculation of the residuals. The residual is printed into the REPORT_FILE.

CALCULATE_R BANDS

A set of the residuals calculated for the different resolution bands. By default, the widths of all the resolution bands are set to ten pixels. The residuals are printed into the REPORT_FILE.

CALCULATE_R RESOLUTION

The residuals are calculated up to various resolution limits. By default, the step between the resolution limits is set to ten pixels. The residuals are printed into the REPORT_FILE.

CALCULATE_R REGION <RECTANGLE/SECTOR>
<R1, (pix), int> <Z1, (pix), int> <R2, (pix), int> <Z2, (pix), int>



The residual is calculated for the user-defined region that might have a shape of a rectangle or sector. The shape is defined by the coordinates of two diagonal corners. Several regions may be defined by a user. The residuals are printed into the REPORT_FILE.

IO_THRESHOLD XE "IO_THRESHOLD"  <intensity, float>
This command defines the threshold intensity in the experimental diffraction pattern, such that pixels with low intensity are excluded from the calculation of the least squares residuals. The command is used to exclude the regions of the diffraction pattern, which contain only the background.

CUTOFF_HIGH XE "CUTOFF_HIGH"  <intensity, float>
This command allows to suppress the influence of highly over- or underestimated calculated intensities on the values of the least squares residuals. If the command is applied, then the least squares residuals are calculated as



[image: image18.wmf]å

å

-

=

Z

R

obs

Z

R

obs

calc

Z

R

I

Z

R

I

Z

R

I

f

R

,

2

,

2

)

,

(

)

)

,

(

)

,

(

(

,


where f(x)=x, if x<intensity, and f(x)=intensity, if x>intensity.

IC_IO_RATIO XE "IC_IO_RATIO"  <RECTANGLE/SECTOR>
<R1, (pix), int> <Z1, (pix), int> <R2, (pix), int> <Z2, (pix), int>



This command writes into the REPORT_FILE the information about the ratio of the total simulated to the total observed intensities in a user-defined region of the diffraction pattern. This region may have a shape of a RECTANGLE or SECTOR. It is defined by the coordinates of its diagonal corners. More than one region may be defined by a user. 

3.5 Commands for SEARCH_MODEL_SPACE regime

To be described in future versions.

3.6 Commands for BROWSE_UNIT_CELL regime

CRYSTAL_SYMMETRY XE "CRYSTAL_SYMMETRY"  <symmetry group, string>


Defines symmetry group of the crystallite model.

NUM_CELLS_A XE "NUM_CELLS_A"  <int>

NUM_CELLS_B XE "NUM_CELLS_B"  <int>

NUM_CELLS_C XE "NUM_CELLS_C"  <int>
These commands define how many unit cells must be built in each lattice direction, when the small crystallite model is constructed.

CELL_A XE "CELL_A"  FREEZE <A, (Å), float>

CELL_B XE "CELL_B"  FREEZE <B, (Å), float>

CELL_C XE "CELL_C"  FREEZE <C, (Å), float>
These command define the unit cell dimensions. The keyword FREEZE means that the corresponding parameter has the same value for all the models for which the diffraction patterns are calculated. 

CELL_A XE "CELL_A"  BROWSE <A_min, (Å), float> <A_max, (Å), float> <A_step, (Å), float>

CELL_B XE "CELL_B"  BROWSE <B_min, (Å), float> <B_max, (Å), float> <B_step, (Å), float>

CELL_C XE "CELL_C"  BROWSE <C_min, (Å), float> <C_max, (Å), float> <C_step, (Å), float>


These commands define the limits of variation of the unit cell dimensions in the small crystallite models. The keyword BROWSE means that the corresponding parameter will be varied between the defined minimal and maximal values with an increment step.

CELL_ALPHA XE "CELL_ALPHA"  FREEZE <alpha, (deg), float> 

CELL_BETA FREEZE <beta, (deg), float>

CELL_GAMMA FREEZE <gamma, (deg), float>



These command define the unit cell angles. The keyword FREEZE means that the corresponding parameter has the same value for all the models for which the diffraction patterns are calculated. 

CELL_ALPHA BROWSE <alpha_min, (deg), float>  <alpha_max, (deg), float> <alpha_step, (deg), float>

CELL_BETA XE "CELL_BETA"  BROWSE <beta_min, (deg), float> <beta_max, (deg), float> <beta_step, (deg), float>

CELL_GAMMA XE "CELL_GAMMA"  BROWSE <gamma_min, (deg), float> <gamma_max, (deg), float> <gamma_step, (deg), float>

These commands define the limits of variation of the unit cell angles in the small crystallite models. The keyword BROWSE means that the corresponding parameter will be varied between the defined minimal and maximal values with an increment step.

RANDOM_STACK XE "RANDOM_STACK" 
The use of this command discontinued.

3.7 Commands used for simulated annealing optimization

NUM_ITERATIONS XE "NUM_ITERATIONS"  <int>



Command defines the number of steps of the simulated annealing optimization.

ANNEALING TEMPERATURE XE "ANNEALING TEMPERATURE"  <double>


Command defines the temperature for the simulated annealing optimization. Recommended range of temperature values is between 0.05 and 0.5.

RANDOM_START XE "RANDOM_START"  <ON/OFF>

defines whether the simulated annealing optimization should start from randomly chosen, or from a user-defined set of parameters. 

References

1.
Franklin, R. E. & Klug, A. (1955). The splitting of layer lines in X-ray fibre diagrams of helical structures: application to tobacco mosaic virus. Acta Crystallogr. 8, 777-780.

2.
Klug, A., Crick, F. H. C. & Wyckoff, H. W. (1958). Diffraction By Helical Structures. Acta Crystallogr. 11, 199-213.

3.
Badger, J. (1997). Modeling and Refinement of Water Molecules and Disordered Solvent. Methods in Enzymology 277, 344-353.

4.
Holmes, K. C. & Barrington Leigh, J. (1974). The Effect Of Disorientation On The Intensity Distribution Of Non-Crystalline Fibres. I. Theory. Acta Crystallogr. A30, 635-645.

5.
Stubbs, G. (1989). The probability distributions of X-ray intensities in fiber diffraction: largest likely values for fiber diffraction R factors. Acta Crystallogr. A45, 254-258.

6.
Wang, H. & Stubbs, G. (1993). Molecular Dynamics in Refinement against Fiber Diffraction Data. Acta Cryst. A49, 504-513.

7.
Nelson, R., Sawaya, M. R., Balbirnie, M., Madsen, A. Ø., Riekel, C., Grothe, R. & Eisenberg, D. (2005). Structure of the cross-b spine of amyloid-like fibrils. Nature 435, 773-778.



Index



#, 22

ADD_ROT_X180_TRANSLATED, 27

ADD_ROT_Y180_TRANSLATED, 27

ADD_ROT_Z180_TRANSLATED, 27

ADD_TRANSLATED, 27

ALPHA0, 23

ANNEALING TEMPERATURE, 34

AUTO_MASK, 31

AXIAL_TRANSLATION, 22

BACKSTOP, 23

BROWSE_B_FACTORS_ANISO, 24

BROWSE_B_FACTORS_ISO, 24

BUILD_CRYSTALITE, 28

BUILD_RANDOM_FIBER, 25

CALCULATE_R, 32

CELL_A, 33

CELL_ALPHA, 34

CELL_B, 33

CELL_BETA, 34

CELL_C, 33, 34

CELL_GAMMA, 34

CHECK_MODEL, 26

CHECK_SEGMENTS, 26

CIRC_BACKGROUND, 31

CLASH_DISTANCE, 26

CM_CUR_TO_ORIGIN, 27

CM_INIT_TO_ORIGIN, 27

COHERENCE_LENGTH, 23

CONTACT_CHAINS, 26

COPY_CUR_TO_INIT, 27

COPY_INIT_TO_CUR, 27

CRYSTAL_SYMMETRY, 33

CUR_MODEL, 26

CUTOFF_HIGH, 33

DEFAULT_MASK, 31

DISORDER, 23

DMAX, 23

FIBERS_PACKING, 24

FLAT_BACKGROUND, 31

IC_IO_RATIO, 33

IGNORE_HYDROGENS, 25

INIT_MODEL, 26

INTENSITY_WEIGHTS, 32

IO_THRESHOLD, 33

MAX_BESSEL_ORDER, 23

MAX_FIBER_RADIUS, 28

MAX_NUM_CLASHES, 26

MAX_NUM_LINES, 23

MOVE_MODEL, 28

NO_H_NO_HOH, 26

NUM_CELLS_A, 33

NUM_CELLS_B, 33

NUM_CELLS_C, 33

NUM_ITERATIONS, 34

ORIENT_###_MODEL, 27

PEAK_PENALTY_R, 31

PEAK_PENALTY_S, 32

PIXEL_RESOLUTION, 23

PRINT_CLASHES, 26

PRINT_INPUT_MODEL, 29

PRINT_SELECTION_RULE, 29

RANDOM_MODEL, 28

RANDOM_STACK, 34

RANDOM_START, 34

RANDOMIZE_MODEL, 28

READ_ADDITIONAL_MODEL, 25

READ_ALL, 26

READ_BACKBONE_ONLY, 26

READ_CA_ONLY, 26

READ_CHAIN_ID, 25

READ_HETATM, 26

READ_IMAGE, 31

READ_MASK, 31

READ_MODEL, 25

READ_R_WEIGHTS, 31

READ_SCALE_WEIGHTS, 31

REGIME, 22

REPORT_FILE, 29

ROTATE_X_CUR, 27

ROTATE_X_INIT, 27

ROTATE_Y_CUR, 27

ROTATE_Y_INIT, 27

ROTATE_Z_CUR, 27

ROTATE_Z_INIT, 27

ROTATIONAL_SYMMETRY, 22

RSIZE, 23

SEARCH_B_FACTORS_ISO, 25

SET_R_WEIGHTS, 32

SET_SCALE_WEIGHTS, 32

SHOW_ASSEMBLY_MODEL, 29

SHOW_COMPARISON, 31

SHOW_MODEL, 29

SOLVENT_CONTRAST, 24

TEMPERATURE_FACTOR, 24

TRANSLATE_CUR_MODEL, 27

TRANSLATE_INIT_MODEL, 27

TURNS_X_PROTOFILAMENTS, 22

UNITS, 22

USE_B_FACTORS, 26

VACUUM, 24

WRITE_ASSEMBLY_MODEL, 29

WRITE_CHAIN_ID, 25

WRITE_COMPARED_EQUATORS, 30

WRITE_COMPARED_ICALC_IDIS, 30

WRITE_COMPARED_PATTERNS, 30

WRITE_COMPARED_SCANS, 29

WRITE_COMPARED_SLICES, 30

WRITE_COMPARED_STRIPES, 30

WRITE_CRYSTAL_MODEL, 29

WRITE_CURRENT_MODEL, 29

WRITE_EXP_DATA, 30

WRITE_I_CALCULATED, 30

WRITE_I_DISORDERED, 30

WRITE_I_OBSERVED, 30

WRITE_RADIAL_SCAN, 29

WRITE_SEQUENCE, 29

WRITE_SIMULATED_PATTERN, 30

ZSIZE, 23



� EMBED Equation.3  ���








PAGE  
37

[image: image20.wmf]_1168770508.unknown

_1178007278.unknown

_1221040723.unknown

_1221040741.unknown

_1211630984.unknown

_1211615666.unknown

_1168934593.unknown

_1168934745.unknown

_1172929935.unknown

_1168934621.unknown

_1168934432.unknown

_1168934458.unknown

_1168774521.unknown

_1157527762.unknown

_1157530501.unknown

_1157532897.unknown

_1157533326.unknown

_1157529434.unknown

_1157488856.unknown

